## Slide 1: Basic Electrical Engineering (BEEE101L)
Presented By
Dr. Maddela Chinna Obaiah
Assistant Professor (Sr)
School of Electrical Engineering

## Slide 2: Thevenin’s Theorem
It often occurs in practice that a particular element in a circuit is variable (usually called the load) while other elements are fixed. As a typical example, a household outlet terminal may be connected to different appliances constituting a variable load.
Each time the variable element is changed, the entire circuit has to be analyzed all over again. To avoid this problem, Thevenin’s theorem provides a technique by which the fixed part of the circuit is replaced by an equivalent circuit.

## Slide 3
Statement:
Thevenin’s theorem states that a linear two-terminal circuit can be replaced by an equivalent circuit consisting of a voltage source VTh in series with a resistor RTh, where VTh is the open-circuit voltage at the terminals and RTh is the input or equivalent resistance at the terminals when the independent sources are turned off or replaced with internal resistances..

## Slide 4: Thevenin’s theorem Procedure
To determine the current in any branch of an active network :
remove the resistance R from that branch,
determine the open-circuit voltage, Voc or Vth across the break,
remove each source of e.m.f. and replace them by their internal resistances and then determine the resistance, , ‘looking-in’ at the break,
determine the value of the current from the equivalent circuit.

## Slide 5
Problem: Find the Thevenin equivalent circuit of the circuit shown in Fig., to the left of the terminals a-b. Then find the current through RL = 6, 16, and 36 .
Thevenin equivalent circuit
Solution:

## Slide 8
To find VTh,
To find RTh
We find RTh by turning off the voltage source (replacing it with a short circuit) and the current source (replacing it with an open circuit). The circuit becomes what is shown in Fig.

## Slide 9
Applying mesh analysis to the two loops, we obtain
The current through RL is
Thevenin equivalent circuit

## Slide 10
Problem. Find the Thevenin equivalent looking into terminals a-b of the circuit in Fig. and solve for ix .
Ans: Vth = 0 V

## Slide 11
Problem: For the circuit of Figure, find the Thevenin equivalent circuit seen by the load resistor, RL.
Ans: Vth = 7.05 V, Rth = 7.05 Ω

## Slide 12
V = 24 V; I = 3 A; R1 = 4 ; R2 = 12 ; R3 = 6
Problem. Compute the load current, i, by the Thevenin equivalent method in the circuit of Figure.

## Slide 13
Problem: Find the Thevenin equivalent at terminals a-b of the circuit in Fig.
Ans: Vth = 92 V, Rth = 28 Ω

## Slide 14
Problem: Find Thevenin’s equivalent circuit of the circuit in Fig.
Ans: Vth = 4 V, Rth = 4 Ω

## Slide 15
Problem: Find Thevenin’s equivalent circuit for the circuit in Fig.
Problem: Determine the Thevenin equivalent at terminals a-b of the circuit in Fig.
Ans: Rth = 22.5 Vth = 40 V IN = 1.77 A

## Slide 16
Problem: Obtain Thevenin’s equivalent as viewed from terminals:
(a) a-b (b) c-d
Problem: Obtain Thevenin’s equivalent of the circuit in Fig. Find current i.
Across a&b
Rth = 2 Ω
Vth = 14 V
Across c&d
Rth = 1.5 Ω
Vth = 19 V